## Sheet1
Date | Measurement | start run | stop run | bad runs | Comments | Data | Analist | Done?
2023-07-26 | First ion trapping | 393823 | 393909 |  |  | yes, noisy
2023-07-27 | Long trap optimalization | 394311 | 394378 |  | 394302- reference run | yes, noisy
2023-07-28 | Long trap optimalization, continued | 394423 | 394595 |  |  | small dataset
2023-07-29 | Valts Trap | 394596 | 394724 |  |  | yes
2023-07-30 | Squeezed Valts Trap MCP at 0V | 394725 | 394987 | 394727, 394728, 394729, 394750, 394751, 394758, 394759, 394760, 394761, 394770, 394771, 394772, 394773, 394774 |  | yes, corrupt runs
2023-08-01 | Set parameters, Trap on MCP side | 394990 | 395016 |  | 394988 is the start run number, but it doestnt say what these 2 first runs contain | yes
2023-08-01 | Set parameters, Trap ELENA side | 395017 | 395041
2023-08-02 | MRToF testing | 395142 | 395267 |  |  | yes
2023-08-03 | MRToF testing, TrapFloor scan | 395268 | 395288 |  |  | yes
2023-08-03 | MRToF testing, IonCooling scan | 395289 | 395312 |  | Programmed on the 03/08 executed on the 04/08
2023-08-03 | MRToF testing, MRToFTime scan | 395313 | 395342 |  | Programmed on the 03/08 executed on the 04/08. Dataset includes runs + 395266 + 39526(?)
2023-08-04 | MRTof testing, 130V floor potential, w/o MCP conf | 395356 | 395363 |  |  | small dataset
2023-08-04 | MRTof testing, 130V floor potential, w/ MCP conf | 395364 | 395373 |  | Run 395374 is MCP conf- not, as in elog, 395364
2023-08-04 | MRTof testing, varying floor potential, w/ MCP conf | 395375 | 395394 |  | Run sequence that has not been described in the elog
2023-08-04 | MRTof testing, squeezing | 395409 | 395592 | 395531, 395532, 395533, 395534, 395535, 395536, 395537, 395538, 395539, 395540, 395541, 395542, 395543, 395544, 395545, 395546, 395547, 395548, 395549, 395550, 395551, 395552, 395553, 395554, 395555, 395556, 395557, 395558, 395559, 395560, 395561, 395562, 395563, 395564, 395565, 395566, 395567 | Completed on the 05/08
2023-08-06 | Barrier, multipulse, squueze-raise | 395594 | 395656 |  | Elog says the acq started at 13:21 with run nr 395610- in reality the run nr corrsponding to this hour and bein the first barrier scan is 395394. The runs 617-19 are tests for scripts | yes
2023-08-07 | MRToF, barrier scan 160 to 100 V in stepsof 5V, 10V floor pot | 395658 | 395706 |  |  | yes
2023-08-07 | MRToF, squeeze-raise, 130 floor pot, MCP at 0V | 395708 | 395717 |  |  | yes
2023-08-08 | MRToF, squeeze-raise, 130 floor pot, MCP at -180V | 395718 | 395727 |  |  | yes
2023-08-08 | MRToF barrier scan, brarier 160 to 60V in steps of 5V, MCP at 0V | 395728 | 395792 |  |  | yes, corrupt runs | Tassilo
2023-08-08 | Pbars/elecrtrons w/o squeeze-raise, storage time 80s | 395793 | 395815
2023-08-08 | Pbar catching potential scan 0.5 to 14keV, steps of 5V | 395818 | 395954 | 395846, 395849,395850,395852,395855,395865,395871,395872,395877,395880,395881,395882,395883,395900,395902,395907,395910,395927,395934 | Data is a mess with re-runs and errors.
2023-08-10 | Barrier scan160 to 100 V, steps of 5V | 395955 | 395978 | 395846, 395849,395850,395852,395855,395865,395871,395872,395877,395880,395881,395882,395883,395900,395902,395907,395910,395927,395934 |  |  | Tassilo
2023-08-10 | EvapTrim scans | 396006 | 396086 |  | Cant find these in the elog at all
2023-08-11 | Trap on the Elena side, nested trap floor potential scan | 396087 | 396149 | 395947,395961,395965,395970, 395976, 395977, 395978, 395979, 395980, 395981, 395982, 395983, 395984, 395985, 395986, 395987, 395988, 395989, 395990, 395991, 395992, 395993, 395994, 395995, 395996, 395997, 395998, 395999, 396000, 396001, 396001, 396003, 396005, 396007, 396013,396016, 396017,396022,396023,396026, 396027,396036, 396038, 396045,396051, 396053 ,396060 , 396063,396070, 396087, 396088, 396096,396098,396100,396101, 396113, 396095, 396103, 396108, 396116, 396117, 396118, 396119, 396124,396128,39613 | The start run nr in the elog doesn’t make sense, took the first nr from the daq for this day | yes, corrupt runs
2023-08-11 | Trap on the MCP side, nested trap floor potential scan | 396152 | 396250 | 395947,395961,395965,395970,395976, 395977, 395978, 395979, 395980, 395981, 395982, 395983, 395984, 395985, 395986, 395987, 395988, 395989, 395990, 395991, 395992, 395993, 395994, 395995, 395996, 395997, 395998, 395999, 396000, 396001, 396001, 396003, 396005, 396007, 396013,396016, 396017,396022,396023,396026, 396027,396036, 396038, 396045,396051, 396053 ,396060 , 396063,396070, 396087, 396088, 396096,396098,396100,396101, 396113, 396095, 396103, 396108, 396116, 396117, 396118, 396119, 396124,396128,39613
2023-08-12 | MRToF trap on ELENA side, MRToF time scan | 396252 | 396260 | 395947,395961,395965,395970, 395976, 395977, 395978, 395979, 395980, 395981, 395982, 395983, 395984, 395985, 395986, 395987, 395988, 395989, 395990, 395991, 395992, 395993, 395994, 395995, 395996, 395997, 395998, 395999, 396000, 396001, 396001, 396003, 396005, 396007, 396013,396016, 396017,396022,396023,396026, 396027,396036, 396038, 396045,396051, 396053 ,396060 , 396063,396070, 396087, 396088, 396096,396098,396100,396101, 396113, 396095, 396103, 396108, 396116, 396117, 396118, 396119, 396124,396128,39613
2023-08-12 | MRToF trap on ELENA side, different pulse durations | 396261 | 396265
2023-08-12 | MRToF trap on ELENA side, different floor voltage | 396267 | 396269
2023-08-12 | MRToF trap on ELENA side, MRToF time scan | 396270 | 396312
2023-08-12 | ELENA side, different opening pulse durations | 396313 | 396336
2023-08-12 | Elena side Different ion cooling time | 396337 | 396354
2023-08-12 | Elena side Different Pbar trapping voltages | 396355 | 396437
2023-08-13 | Elena side, 130V floor voltage, pbar trapping pot 14 keV | 396438 | 396500
2023-08-13 | Elena side, 70V floor voltage, pbar trapping pot 5 keV, 25us pulse duration | 396501 | 396560 | 396504, 396501, 396515,396518, 396519,396525, 396532,396538,396544,396548, 396505
2023-08-14 | Multipulse, Elena side, 90 V | 396374 |  |  |  | no
2023-08-14 | Barrier scan 170 to 80V steps of 5 V, floor voltage 90V, pulse duration 10000 ns, ion cooling time 1s | 396577 | 396633 | 396581, 396583, 396587, 396592, 396593, 396598, 396599,396602, 396603,396606, 396617,396624, 396628, 396631, 396632, 396636 , 396640, 396641, 396652,396654, 396659, 396661, 396667, 396669, 396689, 396692, 396695, 396697, 396699, 396701, 396679, 396686, 396687, 396688, 396689, 396690, 396691, 396692, 396693, 396694, 396695, 396696, 396697, 396698, 396699, 396700, 396701, 396702, 396703, 396711 |  |  | Tassilo
2023-08-14 | Barrier scan 170 to 80V steps of 5 V, floor voltage 90V, pulse duration 10000 ns, ion cooling time 60s | 396578 | 396709 | 396581, 396583, 396587, 396592, 396593, 396598, 396599,396602, 396603,396606, 396617,396624, 396628, 396631, 396632, 396636 , 396640, 396641, 396652,396654, 396659, 396661, 396667, 396669, 396689, 396692, 396695, 396697, 396699, 396701, 396679,396686, 396687, 396688, 396689, 396690, 396691, 396692, 396693, 396694, 396695, 396696, 396697, 396698, 396699, 396700, 396701, 396702, 396703, 396711 |  |  | Tassilo
2023-08-15 | Elena side, pulse duration 10000 nsn pbar trapping pot 14 keV, ion cooling time 1s | 396710 | 396712
2023-08-15 | Elena side, pulse duration 10000 nsn pbar trapping pot 14 keV, ion cooling time 60s | 396713 | 396715
2023-08-15 | Barrier scan 140 to 100V steps of 2.5 V, floor voltage 90V, pulse duration 10000 ns, ion cooling time 1s | 396717 | 396779 |  |  |  | Tassilo
2022-08-16 | Barrier scan 140 to 100V steps of 2.5, floor voltage 90V, pulse duration 10000 ns, ion cooling time 60s | 396780 | 396811 |  |  |  | Tassilo
2023-08-16 | Barrier scan 140 to 100V steps of 10, floor voltage 90V, pulse duration 10000 ns, ion cooling time 60s | 396813 | 396817 |  |  |  | Tassilo
2023-08-17 | Barrier scan 140 to 100V steps of 2.5, floor voltage 90V, pulse duration 10000 ns, ion cooling time 60s | 396821 | 396867 |  | Says in the elog that these measurements were not made, but something is clearly there |  | Tassilo
2023-08-17 | Multipulse, different ion cooling times 1 to 60s | 369868 | 369872
2023-08-17 | Multipulse | 396874 | 396875
2023-08-17 | Set parameters, nested trap | 396876 | 396878
2023-08-17 | Multipulse, 14 keV pbar trapping, 1s ion cooling time | 396879 | 396883
2023-08-17 | Multipulse, 14 keV pbar trapping, 1s ion cooling time | 396888 |  |  | Hard to say what this single measurement is doing here
2023-08-17 | Hot dump, 900s storage time | 395885 | 395965 |  | Elog says storage should be 700s, batman says it has been 900
2023-08-18 | Multipulse | 396967 | 396969
2023-08-18 | Set parameters, nested trap | 396970 | 396972
2023-08-18 | Multipulse | 396975 | 396976
2023-08-18 | Set parameters, nested trap | 396977 | 396978
2023-08-18 | Nested trap, pulse duration 100, 1s ion cooling time, barrier 135V | 396980 | 396982 |  | Cant find in elog
2023-08-18 | Nested trap, pulse duration 100, 1s ion cooling time, barrier 0V | 396983 |  |  | Cant find in elog
2023-08-18 | Nested trap, various parameters (barrier height, ion cooling time, pulse dur, wall height) | 396986 | 397023 |  | These are not in the elog so its really hard to classify them
2023-08-18 | Nested trap, hot storage time 200, pbar cooling 100, trap voltage 10, 50, 90, 130, 150 V | 397030 | 397100
2023-08-19 | Helium barrier scan 170 to 100 V, 5V steps, 90V floor, 10 us gate opening time | 397101 | 397136 | 397110, 397111, 397116, 397130, 397136, 397137 | No helium peak | yes | Tassilo
2023-08-19 | Nested trap, 6keV pbar trapping, 200s hot storage, 90V trap floor | 397140 | 397145
2023-08-20 | Scan over anihilation peak (variable pbar cooling time and hot storage time), 20s steps | 397146 | 397202 | 397150, 397162, 397170, 397178, 397179, 397188, 397194, 397195, 397196, 397197, 397198, 397199, 397200, 397201, 397203, 397212, 397213, 397214, 397224, 397225, 397241, 397242, 397243, 397246, 397247
2023-08-20 | Scan of pbar trapping potential 1 to 3.5 kV 0.5 kV steps, 90V trap floor | 397203 | 397246 | 397150, 397162, 397170, 397178, 397179, 397188, 397194, 397195, 397196, 397197, 397198, 397199, 397200, 397201, 397203, 397212, 397213, 397214, 397224, 397225, 397241, 397242, 397243, 397246, 397247
2023-08-20 | Barrier scan 160 to 90V 5V steps, 6 kV pbar trapping | 397248 | 397287 | 397255, 397256, 397262, 397263, 397267, 397270, 397286
2023-08-21 | Nested trap, floor voltage 90, pbar trapping 4 kV, ion cooling 10s | 397289 | 397293 | 397293, 397294
2023-08-21 | Helium barrier scan 140 to 100 V, 2.5V steps, 90V floor, 10 us gate opening time, 1s ion cooling time | 397295 | 397356 | 397299, 397300, 397302, 397306, 397309, 397311, 397321, 397323, 397325, 397326, 397327, 397328, 397329, 397330, 397331, 397332, 397333, 397334, 397335, 397337, 397338, 397339, 397340, 397341, 397342, 397343, 397344, 397345, 397347, 397349 | Should be done for 1 and 60s ion cooling time (elog), but was done only for 1s | yes, no helium peak | Tassilo
2023-08-21 | Multipulse tests diferent parameters | 397362 | 397366 |  | 397358 is a part of the dataset
2023-08-21 | Argon floor voltage scan 10, 50, 90, 130, 150 V | 397367 | 397377 |  |  | yes, no argon peak
2023-08-22 | Argon Multipulse scan 14 to 4kV 1 kV steps | 397378 | 397388
2023-08-22 | Argon nested trap, 4 kV pbar trapping, 90V floor voltage | 397389 | 397392 |  | elog says 90v barrier, but in batman its clear it was 90V floor voltage
2023-08-22 | Argon barrier scan 150 to 110 V steps of 2.5 V, 90 V floor, 160V walls, 10 us gate time | 397394 | 397433 | 397405, 397406, 397407, 397408, 397409 |  |  | Tassilo
2023-08-22 | Argon multipulse w varoius settings | 397434 | 397457
2023-08-22 | Nested trap, ion cooling time 1 or 101s | 397458 | 397467
2023-08-22 | Multipulse varois parameters | 397468 | 397478 |  |  | no
2023-08-22 | Multipulse 90V floor, 100s Pbarcooling, 200s Hot storage time. 7 steps. 10V per step | 397478 | 397481
2023-08-22 | Multipulse scan 10:20:150V floor, 100s Pbarcooling, 200s Hot storage time. 10V per step | 397482 | 397500
2022-08-23 | Multipulse scan 90:110:130V floor, 100s Pbarcooling, 200s Hot storage time. 5V per step | 397501 | 397507 |  |  | no
2023-08-23 | Multipulse barrier scan 90:5:150V with multistep, 10V per step, 90V floor | 397508 | 397532 | 397527, 397528, 397529, 397530, 397531, 397532, 397533, 397534, 397535, 397536, 397537, 397538
2023-10-03 | Calibration curve with cooled antiprotons, MCP at 0V: test run with +70V, -70, -40, -10 | 400390 | 400393
2023-10-04 | Calibration curve with cooled antiprotons, MCP at 0V: scan with floor pot at 0 to -150V in steps of 5V (eRW_amp = 0.50V, electron cooling parameter) | 400394 | 400431
2023-10-04 | Calibration curve with cooled antiprotons, MCP at 0V: scan with floor pot at 0 to -105V in steps of 5V (eRW_amp = 0.25V, electron cooling parameter) | 400432 | 400463
2023-10-16 | Default test with good vacuum- Valts trap MCP at -180 | 401392 | 401392 |  | Run 401391 is a MCP calibration; run probably useless since there had to be debugging later
2023-10-20 | Test with good Vacuum: Valts trap, MCP at -180 V, debugged | 401993 | 401993 |  | Empty! | no
2023-11-11 | Nested Trap, hot storage time 40s, test of the script | 405790 |  |  |  | no
2023-11-11 | MCP tests | 405800 | 405803 |  |  | no
2023-11-11 | Nested trap good vacuum test: hot storage time 600s, Ion cooling time 10s, MCP 0V | 405804
2023-11-11 | Nitrogen run: Nested trap hot storage time 600s, Ion cooling time 10s, MCP 0V | 405806
2023-11-11 | Nitrogen run: Nested trap hot storage time 300s, Ion cooling time 10s, MCP 0V | 405808 |  |  | 405810-811 runs during the cryo intervention; 405812 empty | no
2023-11-11 | Nitrogen run: Nested trap hot storage time 300s, Ion cooling time 10s, MCP 0V | 405814 | 405840 | 405815, 405817, 405819, 405821, 405823, 405825, 405827, 405829, 405831, 405833, 405835, 405837, 405839
2023-11-12 | Nitrogen run: NestedTrap with MCP1T_In=-180 , NestedTrap_MCP1T_InOut=1550V(Slightly increased), MCP1T_OutPhosphor=2800V, HotStorageTime=300, Ion cooling 10s | 405848 | 405858 | 405849, 405850, 405851, 405852, 405853, 405855, 405856, 405857
2023-11-12 | Nitrogen run: NestedTrap with MCP1T_In=0 , NestedTrap_MCP1T_InOut=1500V, MCP1T_OutPhosphor=2800V, HotStorageTime=300, Ion cooling = 10s | 405862 | 405987 | 405863, 405864, 405866, 405867, 405868, 405869, 405870, 405871, 405872, 405875, 405876, 405877, 405879, 405880, 405881, 405883, 405884, 405885, 405887, 405888, 405889, 405891, 405892, 405893, 405895, 405896, 405897, 405899, 405900, 405901, 405902, 405904, 405905, 405906, 405908, 405909, 405910, 405911, 405912, 405913, 405915, 405916, 405917, 405919, 405920, 405921, 405923, 405924, 405925, 405927, 405928, 405929, 405931, 405932, 405933, 405935, 405936, 405937, 405939, 405940, 405941, 405943, 405944, 405945, 405947, 405948, 405949, 405951, 405952, 405953, 405955, 405956, 405957, 405960, 405961, 405962, 405964, 405965, 405966, 405968, 405969, 405970, 405972, 405973, 405974, 405976, 405977, 405978, 405980, 405981, 405982, 405984, 405985, 405986
2023-11-12 | Nitrogen run: NestedTrap with MCP1T_In=0 , NestedTrap_MCP1T_InOut=1600V, MCP1T_OutPhosphor=2800V, HotStorageTime=300, Ion cooling = 10s | 405869
| Vacuum sensing runs | 405815-41 ODD NUMBERS; 405846; 405850; 405852; 405856;405860;405864;405867;405880;405884;405888;405892;405896;405901;405905;405909;405912;405916;405920;405928;405932;405936;405940;405944;405948;405952;40556;405961;405965;405965;405969;405973;405977;405981;405985;405989